Step 1.) Add data volume to segment

[[File:LoadData.png|500px|thumb]]

Step 2.) Go to the “Editor” module, select the volume loaded in Step 1 as the “Master Volume” in the “Create and Select Label Maps” drop-down menu

[[File:StartEditor.png|500px|thumb]]

Step 3.) Select the “KSlice” effect in the “Edit Selected Label Map” drop-down menu

[[File:KsliceEffect.png|50px|thumb]]

Step 4.) Set the “Radius” parameter and press the “Start Interactive Segmentor” button ( KSlice is now running in the background until the “Stop Interactive Segmentor” button is pressed)

[[File:StartBot.png|500px|thumb]]

Step 5.) Turn “On” all three slice views in the 3D Plane

[[File:TurnOnSlices3D.png|500px|thumb]]

Step 5.) Select the “PaintEffect” tool and initialize KSlice by drawing inside the structure of interest
(green circle, inside the esophagus in this example)

[[File:Paint.png|50px|thumb]]

Step 6.) Hover the mouse over a slice view (we focus on the “Red” slice first, here) and press the “Q” key to evolve a 2D active contour in this plane

[[File:Segment2D.png|500px|thumb]]

Step 7.) Press the “C” key to copy the current segmentation in this 2D plane, then press the left/right arrow on the keyboard to move on to an adjacent slice, press the “V” key to paste the label, thereby initializing the current slice

[[File:CopyPasteSlice.png|500px|thumb]]

Step 8.) Evolve the 2D contour on this slice by pressing “Q”

[[File:Segment2DAfterPaste.png|500px|thumb]]

Step 9.) Hover mouse over the yellow, then green slices and repeat (as many times as desired) Steps 6-8

[[File:SegmentAllSlices.png|500px|thumb]]

***** As necessary, at any time in the process *****

Step 10.) Press the “A” key to change drawing modes (between Draw/Delete label). Thus, if the user's expert knowledge of anatomy does not agree with the current segmentation results, he adds negative input by erasing a label. By deleting in the same area multiple times, the user input is accumulated and this guiding signal forces the changes to become persistent

[[File:DeleteLabel.png|500px|thumb]]

Step 11.) Alternatively, a user can press “A” again to return to drawing. If a contour is not reaching an area that is, in fact, part of the structure of interest, the user can add positive input by painting this area

[[File:DrawLabel.png|500px|thumb]]

Step 12.) Evolve the contour with the changed user input, and new initialization

[[File:EvolveAfterUserInput.png|500px|thumb]]

*********************************************

*********Optional visualization ******************

Step 13.) Turn on “Volume Rendering” of the label image in 3D (notice the parameters set for faster interaction). This will be updated during the evolution

[[File:VolumeRederingOn.png|500px|thumb]]

*********************************************
Step 14.) Evolution in 3D is done by pressing the “W” key

[[File:Result3DSegmentation.png |500px|thumb]]